{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":76,"n_cols":7,"rows_kept":76,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["SURGEON:",null,null,"Ayzenberg",null,null,"PROCEDURE: OPA Hip w/ labral repair/capsular closure, FAI decompression"]
[]
["GLOVE SIZE:",null,null,"8 Biogel, 7.5 Purple Protexis"]
[]
["SKIN PREP:",null,null,"ALCOHOL W/4X4'S PREP BEFORE CHLORPREP"]
[]
[]
["POSITION ",null,null," HANA TABLE, with the large crotch post 1015 and 1010 drape"]
["OF PATIENT:",null,null,"AFFECTED SIDE ARM ACROSS CHEST W/PILLOW AND WRIST RESTRAINT"]
[null,null,null,"HAVE AN EXTRA STRAP TO SECURE ARM / NEXT TO SAFETY STRAPS ON  "]
[null,null,null,"ON NON OPERATIVE SIDE"]
[]
["EQUIPMENT:",null,null,"LINVATEC TOWER",null,"C-ARM AND MONITOR"]
[null,null,null,"STRYKER SHAVER BOX AND FOOT PEDAL",null,"BUCKETS  X  1"]
[null,null,null,"ARTHROCARE wand",null,"STRYKER PUMP"]
[null,null,null,"SUCTION SET UP ",null,"70* SCOPE"]
[null,null,null,"Power + batts"]
["DRAPES:",null,null,"HIP PACK (Cardinal Health SOP52HPCFK)"]
[]
["INSTRUMENTS:",null,null,"Best to order a complete hip arthroscopy system as a base. Below are mix and matched.  Can potentially replace some of below with comprehensive system, depending on what is in place at Premier"]
[null,null,null,"Probe"]
[null,null,null,"Smith and Nephew arthrogarde hip access cannulas"]
[null,null,null,"Smith and Nephew sled (Arthrogarde slotted hip access cannula #72201590"]
[null,null,null,"Smith and Nephew Obturator (over skinny guidewire to enter joint):72200097"]
[null,null,null,"Smith and Nephew Crosstrac hip guide system"]
[null,null,null,"Smith and Nephew curved hip curette 72202583"]
[null,null,null,"Smith and Nephew Acufex up biter 7207540"]
[null,null,null,"Smith and Nephew Acufex grasper Alligator Max 7207699"]
[null,null,null,"Smith and Nephew Acufex 1.5mm straight biter 7207046"]
[]
[null,null,null,"Conmed knot pusher"]
[null,null,null,"Conmed Katana suture cutter Ref GU1009"]
[]
[null,null,null,"Arthrex Suture tak and fibertak drills, guides and instruments"]
[null,null,null,"Arthrex hip loopy AR-16400W 22268"]
[null,null,null,"Arthrex hip biter AR-15310W 22388"]
[null,null,null,"Arthrex curved hip bird beak AR-14800W and AR-14890W"]
[null,null,null,"Arthrex hip small loopy P0066 \"clinical evaluation device'"]
[null,null,null,"Arthrex hip back biter AR-15530W 22592"]
[null,null,null,"Arthrex hip curved to the right and left biters AR-15800W for curve to right, not sure curve to left."]
[null,null,null,"Arthrex long knot pusher"]
[null,null,null,"Arthrex hip liberator AR-1342H-15"]
[]
[null,null,null,"Stryker Pivot Port-Access Hip Restoration (by Pivot Medical) Tray:"]
[{"$nulls":4},"Transport adjustable obturator CAT00792"]
[{"$nulls":4},"Cannulated switching stick"]
[{"$nulls":4},"Standard switching stick"]
[{"$nulls":4},"Switching stick with measurement guide for the Pivot Transport cannula"]
[{"$nulls":4},"Backup drill guides:"]
[{"$nulls":5},"Pivot Phoenix CAT02418"]
[{"$nulls":5},"Nanotech CAT01860"]
[{"$nulls":5},"Cat02645"]
[]
["SUPPLIES:",null,"HIP NEEDLES (PEEL PACK) "]
[null,null,"Ablator (any company with long, stiff round ablater such as Serfas 50*)"]
[null,null,"Stryker 4.5 CRV. SHAVER LONG (hip specific)"]
[null,null,"Stryker 5.5 ROUND BURR LONG (For hip)"]
[null,null,"Stryker PIVOT TRANSPORT CANNULA (HOLD 4,5,6 OR 7,8,9)"]
[null,null,"Stryker SAMURAI BLADE #CAT02421"]
[null,null,"Stryker SLINGSHOT 70 (CAT02590) and CAT02589 (45 degree up) Capsular restoration system"]
[null,null,"Stryker Nanopass 45 degree left, right and crescent (CAT013155, CAT01356, CAT02298)"]
[]
["LABRAL REPAIR :",null,"ARTHREX HIP KNOTLESS SUTURETAK AR-1938PHS"]
[null,null,"ARTHREX HIP KNOTLESS fibertak available"]
[null,null,"1.8 Smith and Nephew Q-FIX  available"]
[]
["SUTURE :",null,null,"4-0 MONOCRYL PS-2  "]
[null,null,null,"#2 VICRYL 54\" #J880T X 3 AVAIL for capsular closure"]
[]
[" MEDS:",null,null,"INJECTION BEFORE PREP:"]
[null,null,null,"Exparel"]
[]
[null,null,null,"INJECTION AT END OF PROCEDURE"]
[null,null,null,"0.5% NAROPIN 20mL and 40mL 0.9% Nacl"]
[]
["DRESSINGS:",null,null,"1/2 inch STERIS, 4X4'S, ABD, TEGRADERM X4 (large)"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}